## Unit Matrix
Building | 1 | EA |  |  |  | Total OF BUILDING |  | Building Type |  | 1 | EA |  |  |  | Total OF BUILDING
Type Of Units | Level 3 | Level 4 | Level 5 | Level 6 | Level 7 |  |  | Type Of Units | Per Unit | Level 3 | Level 4 | Level 5 | Level 6 | Level 7
| No Of Units | No Of Units | No Of Units | No Of Units | No Of Units | Total Units | Unit |  | NRSF | NRSF | NRSF | NRSF | NRSF | NRSF | Total NRSF | Unit
Deluxe KIng | 1 | 2 | 2 | 2 | 1 | 8 | EA | Deluxe KIng | 454.16 | 454.16 | 908.32 | 908.32 | 908.32 | 454.16 | 3633.28 | EA
Deluxe King (W) | 1 | 1 | 1 | 1 | 1 | 5 | EA | Deluxe King (W) | 488.79 | 488.79 | 488.79 | 488.79 | 488.79 | 488.79 | 2443.95 | EA
Double Queen | 7 | 7 | 7 | 7 | 7 | 35 | EA | Double Queen | 420 | 2940 | 2940 | 2940 | 2940 | 2940 | 14700 | EA
Double Queen (W) | 1 | 1 | 1 | 1 | 1 | 5 | EA | Double Queen (W) | 535.22 | 535.22 | 535.22 | 535.22 | 535.22 | 535.22 | 2676.1 | EA
One Bedroom Suite | 2 | 2 | 2 | 2 | 1 | 9 | EA | One Bedroom Suite | 850.58 | 1701.16 | 1701.16 | 1701.16 | 1701.16 | 850.58 | 7655.22 | EA
Presidential Suite | 0 | 0 | 0 | 0 | 1 | 1 | EA | Presidential Suite | 1266.45 | 0 | 0 | 0 | 0 | 1266.45 | 1266.45 | EA
Standard King | 16 | 18 | 18 | 18 | 18 | 88 | EA | Standard King | 380 | 6080 | 6840 | 6840 | 6840 | 6840 | 33440 | EA
Total | 28 | 31 | 31 | 31 | 30 | 151 | EA | Total | 4395.2 | 12199.33 | 13413.49 | 13413.49 | 13413.49 | 13375.2 | 65815 | EA

## Units
| All UNITS - BUILDING | 151 | UNITS
Division 01
| Bed Bath | 151 | EA
1 | 1 Bed / 1 Bath | 151 | EA
Division 08
| Doors | 529 | EA
2 | Double Panel Entry Door | 1 | EA
3 | Double Panel Interior Door | 211 | EA
4 | Single Panel Balcony Door | 15 | EA
5 | Single Panel Entry Door | 150 | EA
6 | Single Panel Interior Door | 152 | EA
Division 09
| Total Ceiling Finish | 56372 | SF
7 | Skim Coat Gypsum Plaster Ceiling | 56372 | SF
| Total Floor Finish | 59724 | SF
8 | Floor Finish @ Bathroom | 17928 | SF
9 | Floor Finish @ Bedroom | 34518 | SF
10 | Floor Finish @ Closet | 1265 | SF
11 | Floor Finish @ Hall | 4291 | SF
12 | Floor Finish @ Shower | 1722 | SF
| Total Wall Base | 17286 | LF
13 | Wall Base | 17286 | LF
| Total Wall Tile | 12438 | SF
14 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 1382 | LF
Division 22
| Plumbing Fixture | 604 | EA
15 | Shower Enclosure Door W/ Partition | 151 | EA
16 | Lavatory | 151 | EA
17 | Shower | 151 | EA
18 | Water Closet | 151 | EA
Division 23
| Mechanical | 151 | EA
19 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 151 | EA
Division 26
| Electrical | 151 | EA
20 | Panel Board | 151 | EA
| Total - 1 Bedroom/1 Bathroom | 151 | UNITS
| 1 Bed / 1 Bath | 151 | EA
| Double Panel Entry Door | 1 | EA
| Double Panel Interior Door | 211 | EA
| Single Panel Balcony Door | 15 | EA
| Single Panel Entry Door | 150 | EA
| Single Panel Interior Door | 152 | EA
| Skim Coat Gypsum Plaster Ceiling | 56372 | SF
| Floor Finish @ Bathroom | 17928 | SF
| Floor Finish @ Bedroom | 34518 | SF
| Floor Finish @ Closet | 1265 | SF
| Floor Finish @ Hall | 4291 | SF
| Floor Finish @ Shower | 1722 | SF
| Wall Base | 17286 | LF
| Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 1382 | LF
| Shower Enclosure Door W/ Partition | 151 | EA
| Lavatory | 151 | EA
| Shower | 151 | EA
| Water Closet | 151 | EA
| Chilled Water Concealed Ducted Unit w/ Electric Heat | 151 | EA
| Panel Board | 151 | EA
| Total - Deluxe King UNITS | 8 |  | LEVEL 3 | 1 | UNITS |  | LEVEL 4 | 2 | UNITS |  | LEVEL 5 | 2 | UNITS |  | LEVEL 6 | 2 | UNITS |  | LEVEL 7 | 1 | UNITS
| 1 Bed / 1 Bath | 8 | EA | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 2 | 1 Bed / 1 Bath | 1 | EA | 2 | 1 Bed / 1 Bath | 1 | EA | 2 | 1 Bed / 1 Bath | 1 | EA | 1
| Double Panel Entry Door | 0 | EA | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0
| Double Panel Interior Door | 0 | EA | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0
| Single Panel Balcony Door | 0 | EA | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0
| Single Panel Entry Door | 8 | EA | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 2 | Single Panel Entry Door | 1 | EA | 2 | Single Panel Entry Door | 1 | EA | 2 | Single Panel Entry Door | 1 | EA | 1
| Single Panel Interior Door | 8 | EA | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 2 | Single Panel Interior Door | 1 | EA | 2 | Single Panel Interior Door | 1 | EA | 2 | Single Panel Interior Door | 1 | EA | 1
| Skim Coat Gypsum Plaster Ceiling | 3352 | SF | Skim Coat Gypsum Plaster Ceiling | 418.61 | SF | 419 | Skim Coat Gypsum Plaster Ceiling | 418.61 | SF | 838 | Skim Coat Gypsum Plaster Ceiling | 418.61 | SF | 838 | Skim Coat Gypsum Plaster Ceiling | 418.61 | SF | 838 | Skim Coat Gypsum Plaster Ceiling | 418.61 | SF | 419
| Floor Finish @ Bathroom | 712 | SF | Floor Finish @ Bathroom | 88.84 | SF | 89 | Floor Finish @ Bathroom | 88.84 | SF | 178 | Floor Finish @ Bathroom | 88.84 | SF | 178 | Floor Finish @ Bathroom | 88.84 | SF | 178 | Floor Finish @ Bathroom | 88.84 | SF | 89
| Floor Finish @ Bedroom | 2640 | SF | Floor Finish @ Bedroom | 329.77 | SF | 330 | Floor Finish @ Bedroom | 329.77 | SF | 660 | Floor Finish @ Bedroom | 329.77 | SF | 660 | Floor Finish @ Bedroom | 329.77 | SF | 660 | Floor Finish @ Bedroom | 329.77 | SF | 330
| Floor Finish @ Closet | 0 | SF | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0
| Floor Finish @ Hall | 0 | SF | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0
| Floor Finish @ Shower | 0 | SF | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0
| Wall Base | 981 | LF | Wall Base | 122.0267 | LF | 123 | Wall Base | 122.0267 | LF | 245 | Wall Base | 122.0267 | LF | 245 | Wall Base | 122.0267 | LF | 245 | Wall Base | 122.0267 | LF | 123
| Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0
| Shower Enclosure Door W/ Partition | 8 | EA | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 2 | Shower Enclosure Door W/ Partition | 1 | EA | 2 | Shower Enclosure Door W/ Partition | 1 | EA | 2 | Shower Enclosure Door W/ Partition | 1 | EA | 1
| Lavatory | 8 | EA | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 2 | Lavatory | 1 | EA | 2 | Lavatory | 1 | EA | 2 | Lavatory | 1 | EA | 1
| Shower | 8 | EA | Shower | 1 | EA | 1 | Shower | 1 | EA | 2 | Shower | 1 | EA | 2 | Shower | 1 | EA | 2 | Shower | 1 | EA | 1
| Water Closet | 8 | EA | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 2 | Water Closet | 1 | EA | 2 | Water Closet | 1 | EA | 2 | Water Closet | 1 | EA | 1
| Chilled Water Concealed Ducted Unit w/ Electric Heat | 8 | EA | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 2 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 2 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 2 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1
| Panel Board | 8 | EA | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 2 | Panel Board | 1 | EA | 2 | Panel Board | 1 | EA | 2 | Panel Board | 1 | EA | 1
| Total - Deluxe King (W) UNITS | 5 |  | LEVEL 3 | 1 | UNITS |  | LEVEL 4 | 1 | UNITS |  | LEVEL 5 | 1 | UNITS |  | LEVEL 6 | 1 | UNITS |  | LEVEL 7 | 1 | UNITS
| 1 Bed / 1 Bath | 5 | EA | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 1
| Double Panel Entry Door | 0 | EA | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0
| Double Panel Interior Door | 0 | EA | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0
| Single Panel Balcony Door | 0 | EA | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0
| Single Panel Entry Door | 5 | EA | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 1
| Single Panel Interior Door | 5 | EA | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 1
| Skim Coat Gypsum Plaster Ceiling | 2220 | SF | Skim Coat Gypsum Plaster Ceiling | 443.4 | SF | 444 | Skim Coat Gypsum Plaster Ceiling | 443.4 | SF | 444 | Skim Coat Gypsum Plaster Ceiling | 443.4 | SF | 444 | Skim Coat Gypsum Plaster Ceiling | 443.4 | SF | 444 | Skim Coat Gypsum Plaster Ceiling | 443.4 | SF | 444
| Floor Finish @ Bathroom | 545 | SF | Floor Finish @ Bathroom | 108.8 | SF | 109 | Floor Finish @ Bathroom | 108.8 | SF | 109 | Floor Finish @ Bathroom | 108.8 | SF | 109 | Floor Finish @ Bathroom | 108.8 | SF | 109 | Floor Finish @ Bathroom | 108.8 | SF | 109
| Floor Finish @ Bedroom | 1675 | SF | Floor Finish @ Bedroom | 334.49 | SF | 335 | Floor Finish @ Bedroom | 334.49 | SF | 335 | Floor Finish @ Bedroom | 334.49 | SF | 335 | Floor Finish @ Bedroom | 334.49 | SF | 335 | Floor Finish @ Bedroom | 334.49 | SF | 335
| Floor Finish @ Closet | 0 | SF | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0
| Floor Finish @ Hall | 0 | SF | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0
| Floor Finish @ Shower | 0 | SF | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0
| Wall Base | 640 | LF | Wall Base | 127.7814 | LF | 128 | Wall Base | 127.7814 | LF | 128 | Wall Base | 127.7814 | LF | 128 | Wall Base | 127.7814 | LF | 128 | Wall Base | 127.7814 | LF | 128
| Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0
| Shower Enclosure Door W/ Partition | 5 | EA | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 1
| Lavatory | 5 | EA | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 1
| Shower | 5 | EA | Shower | 1 | EA | 1 | Shower | 1 | EA | 1 | Shower | 1 | EA | 1 | Shower | 1 | EA | 1 | Shower | 1 | EA | 1
| Water Closet | 5 | EA | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 1
| Chilled Water Concealed Ducted Unit w/ Electric Heat | 5 | EA | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1
| Panel Board | 5 | EA | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 1
| Total - Double Queen UNITS | 35 |  | LEVEL 3 | 7 | UNITS |  | LEVEL 4 | 7 | UNITS |  | LEVEL 5 | 7 | UNITS |  | LEVEL 6 | 7 | UNITS |  | LEVEL 7 | 7 | UNITS
| 1 Bed / 1 Bath | 35 | EA | 1 Bed / 1 Bath | 1 | EA | 7 | 1 Bed / 1 Bath | 1 | EA | 7 | 1 Bed / 1 Bath | 1 | EA | 7 | 1 Bed / 1 Bath | 1 | EA | 7 | 1 Bed / 1 Bath | 1 | EA | 7
| Double Panel Entry Door | 0 | EA | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0
| Double Panel Interior Door | 35 | EA | Double Panel Interior Door | 1 | EA | 7 | Double Panel Interior Door | 1 | EA | 7 | Double Panel Interior Door | 1 | EA | 7 | Double Panel Interior Door | 1 | EA | 7 | Double Panel Interior Door | 1 | EA | 7
| Single Panel Balcony Door | 0 | EA | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0
| Single Panel Entry Door | 35 | EA | Single Panel Entry Door | 1 | EA | 7 | Single Panel Entry Door | 1 | EA | 7 | Single Panel Entry Door | 1 | EA | 7 | Single Panel Entry Door | 1 | EA | 7 | Single Panel Entry Door | 1 | EA | 7
| Single Panel Interior Door | 35 | EA | Single Panel Interior Door | 1 | EA | 7 | Single Panel Interior Door | 1 | EA | 7 | Single Panel Interior Door | 1 | EA | 7 | Single Panel Interior Door | 1 | EA | 7 | Single Panel Interior Door | 1 | EA | 7
| Skim Coat Gypsum Plaster Ceiling | 13125 | SF | Skim Coat Gypsum Plaster Ceiling | 375 | SF | 2625 | Skim Coat Gypsum Plaster Ceiling | 375 | SF | 2625 | Skim Coat Gypsum Plaster Ceiling | 375 | SF | 2625 | Skim Coat Gypsum Plaster Ceiling | 375 | SF | 2625 | Skim Coat Gypsum Plaster Ceiling | 375 | SF | 2625
| Floor Finish @ Bathroom | 4235 | SF | Floor Finish @ Bathroom | 121 | SF | 847 | Floor Finish @ Bathroom | 121 | SF | 847 | Floor Finish @ Bathroom | 121 | SF | 847 | Floor Finish @ Bathroom | 121 | SF | 847 | Floor Finish @ Bathroom | 121 | SF | 847
| Floor Finish @ Bedroom | 8190 | SF | Floor Finish @ Bedroom | 234 | SF | 1638 | Floor Finish @ Bedroom | 234 | SF | 1638 | Floor Finish @ Bedroom | 234 | SF | 1638 | Floor Finish @ Bedroom | 234 | SF | 1638 | Floor Finish @ Bedroom | 234 | SF | 1638
| Floor Finish @ Closet | 385 | SF | Floor Finish @ Closet | 11 | SF | 77 | Floor Finish @ Closet | 11 | SF | 77 | Floor Finish @ Closet | 11 | SF | 77 | Floor Finish @ Closet | 11 | SF | 77 | Floor Finish @ Closet | 11 | SF | 77
| Floor Finish @ Hall | 0 | SF | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0
| Floor Finish @ Shower | 490 | SF | Floor Finish @ Shower | 14 | SF | 98 | Floor Finish @ Shower | 14 | SF | 98 | Floor Finish @ Shower | 14 | SF | 98 | Floor Finish @ Shower | 14 | SF | 98 | Floor Finish @ Shower | 14 | SF | 98
| Wall Base | 3980 | LF | Wall Base | 113.67 | LF | 796 | Wall Base | 113.67 | LF | 796 | Wall Base | 113.67 | LF | 796 | Wall Base | 113.67 | LF | 796 | Wall Base | 113.67 | LF | 796
| Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 395 | LF | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.24 | LF | 79 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.24 | LF | 79 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.24 | LF | 79 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.24 | LF | 79 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.24 | LF | 79
| Shower Enclosure Door W/ Partition | 35 | EA | Shower Enclosure Door W/ Partition | 1 | EA | 7 | Shower Enclosure Door W/ Partition | 1 | EA | 7 | Shower Enclosure Door W/ Partition | 1 | EA | 7 | Shower Enclosure Door W/ Partition | 1 | EA | 7 | Shower Enclosure Door W/ Partition | 1 | EA | 7
| Lavatory | 35 | EA | Lavatory | 1 | EA | 7 | Lavatory | 1 | EA | 7 | Lavatory | 1 | EA | 7 | Lavatory | 1 | EA | 7 | Lavatory | 1 | EA | 7
| Shower | 35 | EA | Shower | 1 | EA | 7 | Shower | 1 | EA | 7 | Shower | 1 | EA | 7 | Shower | 1 | EA | 7 | Shower | 1 | EA | 7
| Water Closet | 35 | EA | Water Closet | 1 | EA | 7 | Water Closet | 1 | EA | 7 | Water Closet | 1 | EA | 7 | Water Closet | 1 | EA | 7 | Water Closet | 1 | EA | 7
| Chilled Water Concealed Ducted Unit w/ Electric Heat | 35 | EA | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 7 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 7 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 7 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 7 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 7
| Panel Board | 35 | EA | Panel Board | 1 | EA | 7 | Panel Board | 1 | EA | 7 | Panel Board | 1 | EA | 7 | Panel Board | 1 | EA | 7 | Panel Board | 1 | EA | 7
0
| Total - Double Queen (W) UNITS | 5 |  | LEVEL 3 | 1 | UNITS |  | LEVEL 4 | 1 | UNITS |  | LEVEL 5 | 1 | UNITS |  | LEVEL 6 | 1 | UNITS |  | LEVEL 7 | 1 | UNITS
| 1 Bed / 1 Bath | 5 | EA | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 1 | 1 Bed / 1 Bath | 1 | EA | 1
| Double Panel Entry Door | 0 | EA | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0
| Double Panel Interior Door | 0 | EA | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0
| Single Panel Balcony Door | 4 | EA | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 1 | EA | 1 | Single Panel Balcony Door | 1 | EA | 1 | Single Panel Balcony Door | 1 | EA | 1 | Single Panel Balcony Door | 1 | EA | 1
| Single Panel Entry Door | 5 | EA | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 1 | Single Panel Entry Door | 1 | EA | 1
| Single Panel Interior Door | 5 | EA | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 1 | Single Panel Interior Door | 1 | EA | 1
| Skim Coat Gypsum Plaster Ceiling | 0 | SF | Skim Coat Gypsum Plaster Ceiling | 0 | SF | 0 | Skim Coat Gypsum Plaster Ceiling | 0 | SF | 0 | Skim Coat Gypsum Plaster Ceiling | 0 | SF | 0 | Skim Coat Gypsum Plaster Ceiling | 0 | SF | 0 | Skim Coat Gypsum Plaster Ceiling | 0 | SF | 0
| Floor Finish @ Bathroom | 390 | SF | Floor Finish @ Bathroom | 77.65 | SF | 78 | Floor Finish @ Bathroom | 77.65 | SF | 78 | Floor Finish @ Bathroom | 77.65 | SF | 78 | Floor Finish @ Bathroom | 77.65 | SF | 78 | Floor Finish @ Bathroom | 77.65 | SF | 78
| Floor Finish @ Bedroom | 2045 | SF | Floor Finish @ Bedroom | 408.28 | SF | 409 | Floor Finish @ Bedroom | 408.28 | SF | 409 | Floor Finish @ Bedroom | 408.28 | SF | 409 | Floor Finish @ Bedroom | 408.28 | SF | 409 | Floor Finish @ Bedroom | 408.28 | SF | 409
| Floor Finish @ Closet | 0 | SF | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0
| Floor Finish @ Hall | 0 | SF | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0
| Floor Finish @ Shower | 0 | SF | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0
| Wall Base | 440 | LF | Wall Base | 87.3071 | LF | 88 | Wall Base | 87.3071 | LF | 88 | Wall Base | 87.3071 | LF | 88 | Wall Base | 87.3071 | LF | 88 | Wall Base | 87.3071 | LF | 88
| Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0
| Shower Enclosure Door W/ Partition | 5 | EA | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 1 | Shower Enclosure Door W/ Partition | 1 | EA | 1
| Lavatory | 5 | EA | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 1 | Lavatory | 1 | EA | 1
| Shower | 5 | EA | Shower | 1 | EA | 1 | Shower | 1 | EA | 1 | Shower | 1 | EA | 1 | Shower | 1 | EA | 1 | Shower | 1 | EA | 1
| Water Closet | 5 | EA | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 1 | Water Closet | 1 | EA | 1
| Chilled Water Concealed Ducted Unit w/ Electric Heat | 5 | EA | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1
| Panel Board | 5 | EA | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 1 | Panel Board | 1 | EA | 1
| Total - One Bedroom Suite UNITS | 9 |  | LEVEL 3 | 2 | UNITS |  | LEVEL 4 | 2 | UNITS |  | LEVEL 5 | 2 | UNITS |  | LEVEL 6 | 2 | UNITS |  | LEVEL 7 | 1 | UNITS
| 1 Bed / 1 Bath | 9 | EA | 1 Bed / 1 Bath | 1 | EA | 2 | 1 Bed / 1 Bath | 1 | EA | 2 | 1 Bed / 1 Bath | 1 | EA | 2 | 1 Bed / 1 Bath | 1 | EA | 2 | 1 Bed / 1 Bath | 1 | EA | 1
| Double Panel Entry Door | 0 | EA | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0
| Double Panel Interior Door | 0 | EA | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0
| Single Panel Balcony Door | 9 | EA | Single Panel Balcony Door | 1 | EA | 2 | Single Panel Balcony Door | 1 | EA | 2 | Single Panel Balcony Door | 1 | EA | 2 | Single Panel Balcony Door | 1 | EA | 2 | Single Panel Balcony Door | 1 | EA | 1
| Single Panel Entry Door | 9 | EA | Single Panel Entry Door | 1 | EA | 2 | Single Panel Entry Door | 1 | EA | 2 | Single Panel Entry Door | 1 | EA | 2 | Single Panel Entry Door | 1 | EA | 2 | Single Panel Entry Door | 1 | EA | 1
| Single Panel Interior Door | 9 | EA | Single Panel Interior Door | 1 | EA | 2 | Single Panel Interior Door | 1 | EA | 2 | Single Panel Interior Door | 1 | EA | 2 | Single Panel Interior Door | 1 | EA | 2 | Single Panel Interior Door | 1 | EA | 1
| Skim Coat Gypsum Plaster Ceiling | 7110 | SF | Skim Coat Gypsum Plaster Ceiling | 789.69 | SF | 1580 | Skim Coat Gypsum Plaster Ceiling | 789.69 | SF | 1580 | Skim Coat Gypsum Plaster Ceiling | 789.69 | SF | 1580 | Skim Coat Gypsum Plaster Ceiling | 789.69 | SF | 1580 | Skim Coat Gypsum Plaster Ceiling | 789.69 | SF | 790
| Floor Finish @ Bathroom | 1247 | SF | Floor Finish @ Bathroom | 138.01 | SF | 277 | Floor Finish @ Bathroom | 138.01 | SF | 277 | Floor Finish @ Bathroom | 138.01 | SF | 277 | Floor Finish @ Bathroom | 138.01 | SF | 277 | Floor Finish @ Bathroom | 138.01 | SF | 139
| Floor Finish @ Bedroom | 2295 | SF | Floor Finish @ Bedroom | 254.71 | SF | 510 | Floor Finish @ Bedroom | 254.71 | SF | 510 | Floor Finish @ Bedroom | 254.71 | SF | 510 | Floor Finish @ Bedroom | 254.71 | SF | 510 | Floor Finish @ Bedroom | 254.71 | SF | 255
| Floor Finish @ Closet | 0 | SF | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0
| Floor Finish @ Hall | 3600 | SF | Floor Finish @ Hall | 399.64 | SF | 800 | Floor Finish @ Hall | 399.64 | SF | 800 | Floor Finish @ Hall | 399.64 | SF | 800 | Floor Finish @ Hall | 399.64 | SF | 800 | Floor Finish @ Hall | 399.64 | SF | 400
| Floor Finish @ Shower | 0 | SF | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0
| Wall Base | 1724 | LF | Wall Base | 191.48 | LF | 383 | Wall Base | 191.48 | LF | 383 | Wall Base | 191.48 | LF | 383 | Wall Base | 191.48 | LF | 383 | Wall Base | 191.48 | LF | 192
| Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0
| Shower Enclosure Door W/ Partition | 9 | EA | Shower Enclosure Door W/ Partition | 1 | EA | 2 | Shower Enclosure Door W/ Partition | 1 | EA | 2 | Shower Enclosure Door W/ Partition | 1 | EA | 2 | Shower Enclosure Door W/ Partition | 1 | EA | 2 | Shower Enclosure Door W/ Partition | 1 | EA | 1
| Lavatory | 9 | EA | Lavatory | 1 | EA | 2 | Lavatory | 1 | EA | 2 | Lavatory | 1 | EA | 2 | Lavatory | 1 | EA | 2 | Lavatory | 1 | EA | 1
| Shower | 9 | EA | Shower | 1 | EA | 2 | Shower | 1 | EA | 2 | Shower | 1 | EA | 2 | Shower | 1 | EA | 2 | Shower | 1 | EA | 1
| Water Closet | 9 | EA | Water Closet | 1 | EA | 2 | Water Closet | 1 | EA | 2 | Water Closet | 1 | EA | 2 | Water Closet | 1 | EA | 2 | Water Closet | 1 | EA | 1
| Chilled Water Concealed Ducted Unit w/ Electric Heat | 9 | EA | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 2 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 2 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 2 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 2 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1
| Panel Board | 9 | EA | Panel Board | 1 | EA | 2 | Panel Board | 1 | EA | 2 | Panel Board | 1 | EA | 2 | Panel Board | 1 | EA | 2 | Panel Board | 1 | EA | 1
| Total - Presidential Suite UNITS | 1 |  | LEVEL 3 | 0 | UNITS |  | LEVEL 4 | 0 | UNITS |  | LEVEL 5 | 0 | UNITS |  | LEVEL 6 | 0 | UNITS |  | LEVEL 7 | 1 | UNITS
| 1 Bed / 1 Bath | 1 | EA | 1 Bed / 1 Bath | 1 | EA | 0 | 1 Bed / 1 Bath | 1 | EA | 0 | 1 Bed / 1 Bath | 1 | EA | 0 | 1 Bed / 1 Bath | 1 | EA | 0 | 1 Bed / 1 Bath | 1 | EA | 1
| Double Panel Entry Door | 1 | EA | Double Panel Entry Door | 1 | EA | 0 | Double Panel Entry Door | 1 | EA | 0 | Double Panel Entry Door | 1 | EA | 0 | Double Panel Entry Door | 1 | EA | 0 | Double Panel Entry Door | 1 | EA | 1
| Double Panel Interior Door | 0 | EA | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0 | Double Panel Interior Door | 0 | EA | 0
| Single Panel Balcony Door | 2 | EA | Single Panel Balcony Door | 2 | EA | 0 | Single Panel Balcony Door | 2 | EA | 0 | Single Panel Balcony Door | 2 | EA | 0 | Single Panel Balcony Door | 2 | EA | 0 | Single Panel Balcony Door | 2 | EA | 2
| Single Panel Entry Door | 0 | EA | Single Panel Entry Door | 0 | EA | 0 | Single Panel Entry Door | 0 | EA | 0 | Single Panel Entry Door | 0 | EA | 0 | Single Panel Entry Door | 0 | EA | 0 | Single Panel Entry Door | 0 | EA | 0
| Single Panel Interior Door | 2 | EA | Single Panel Interior Door | 2 | EA | 0 | Single Panel Interior Door | 2 | EA | 0 | Single Panel Interior Door | 2 | EA | 0 | Single Panel Interior Door | 2 | EA | 0 | Single Panel Interior Door | 2 | EA | 2
| Skim Coat Gypsum Plaster Ceiling | 1173 | SF | Skim Coat Gypsum Plaster Ceiling | 1172.47 | SF | 0 | Skim Coat Gypsum Plaster Ceiling | 1172.47 | SF | 0 | Skim Coat Gypsum Plaster Ceiling | 1172.47 | SF | 0 | Skim Coat Gypsum Plaster Ceiling | 1172.47 | SF | 0 | Skim Coat Gypsum Plaster Ceiling | 1172.47 | SF | 1173
| Floor Finish @ Bathroom | 151 | SF | Floor Finish @ Bathroom | 150.09 | SF | 0 | Floor Finish @ Bathroom | 150.09 | SF | 0 | Floor Finish @ Bathroom | 150.09 | SF | 0 | Floor Finish @ Bathroom | 150.09 | SF | 0 | Floor Finish @ Bathroom | 150.09 | SF | 151
| Floor Finish @ Bedroom | 337 | SF | Floor Finish @ Bedroom | 336.33 | SF | 0 | Floor Finish @ Bedroom | 336.33 | SF | 0 | Floor Finish @ Bedroom | 336.33 | SF | 0 | Floor Finish @ Bedroom | 336.33 | SF | 0 | Floor Finish @ Bedroom | 336.33 | SF | 337
| Floor Finish @ Closet | 0 | SF | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0 | Floor Finish @ Closet | 0 | SF | 0
| Floor Finish @ Hall | 691 | SF | Floor Finish @ Hall | 690.83 | SF | 0 | Floor Finish @ Hall | 690.83 | SF | 0 | Floor Finish @ Hall | 690.83 | SF | 0 | Floor Finish @ Hall | 690.83 | SF | 0 | Floor Finish @ Hall | 690.83 | SF | 691
| Floor Finish @ Shower | 0 | SF | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0 | Floor Finish @ Shower | 0 | SF | 0
| Wall Base | 247 | LF | Wall Base | 246.7214 | LF | 0 | Wall Base | 246.7214 | LF | 0 | Wall Base | 246.7214 | LF | 0 | Wall Base | 246.7214 | LF | 0 | Wall Base | 246.7214 | LF | 247
| Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 0 | LF | 0
| Shower Enclosure Door W/ Partition | 1 | EA | Shower Enclosure Door W/ Partition | 1 | EA | 0 | Shower Enclosure Door W/ Partition | 1 | EA | 0 | Shower Enclosure Door W/ Partition | 1 | EA | 0 | Shower Enclosure Door W/ Partition | 1 | EA | 0 | Shower Enclosure Door W/ Partition | 1 | EA | 1
| Lavatory | 1 | EA | Lavatory | 1 | EA | 0 | Lavatory | 1 | EA | 0 | Lavatory | 1 | EA | 0 | Lavatory | 1 | EA | 0 | Lavatory | 1 | EA | 1
| Shower | 1 | EA | Shower | 1 | EA | 0 | Shower | 1 | EA | 0 | Shower | 1 | EA | 0 | Shower | 1 | EA | 0 | Shower | 1 | EA | 1
| Water Closet | 1 | EA | Water Closet | 1 | EA | 0 | Water Closet | 1 | EA | 0 | Water Closet | 1 | EA | 0 | Water Closet | 1 | EA | 0 | Water Closet | 1 | EA | 1
| Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 0 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 0 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 0 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 0 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 1
| Panel Board | 1 | EA | Panel Board | 1 | EA | 0 | Panel Board | 1 | EA | 0 | Panel Board | 1 | EA | 0 | Panel Board | 1 | EA | 0 | Panel Board | 1 | EA | 1
| Total - Standard King UNITS | 88 |  | LEVEL 3 | 16 | UNITS |  | LEVEL 4 | 18 | UNITS |  | LEVEL 5 | 18 | UNITS |  | LEVEL 6 | 18 | UNITS |  | LEVEL 7 | 18 | UNITS
| 1 Bed / 1 Bath | 88 | EA | 1 Bed / 1 Bath | 1 | EA | 16 | 1 Bed / 1 Bath | 1 | EA | 18 | 1 Bed / 1 Bath | 1 | EA | 18 | 1 Bed / 1 Bath | 1 | EA | 18 | 1 Bed / 1 Bath | 1 | EA | 18
| Double Panel Entry Door | 0 | EA | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0 | Double Panel Entry Door | 0 | EA | 0
| Double Panel Interior Door | 176 | EA | Double Panel Interior Door | 2 | EA | 32 | Double Panel Interior Door | 2 | EA | 36 | Double Panel Interior Door | 2 | EA | 36 | Double Panel Interior Door | 2 | EA | 36 | Double Panel Interior Door | 2 | EA | 36
| Single Panel Balcony Door | 0 | EA | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0 | Single Panel Balcony Door | 0 | EA | 0
| Single Panel Entry Door | 88 | EA | Single Panel Entry Door | 1 | EA | 16 | Single Panel Entry Door | 1 | EA | 18 | Single Panel Entry Door | 1 | EA | 18 | Single Panel Entry Door | 1 | EA | 18 | Single Panel Entry Door | 1 | EA | 18
| Single Panel Interior Door | 88 | EA | Single Panel Interior Door | 1 | EA | 16 | Single Panel Interior Door | 1 | EA | 18 | Single Panel Interior Door | 1 | EA | 18 | Single Panel Interior Door | 1 | EA | 18 | Single Panel Interior Door | 1 | EA | 18
| Skim Coat Gypsum Plaster Ceiling | 29392 | SF | Skim Coat Gypsum Plaster Ceiling | 334 | SF | 5344 | Skim Coat Gypsum Plaster Ceiling | 334 | SF | 6012 | Skim Coat Gypsum Plaster Ceiling | 334 | SF | 6012 | Skim Coat Gypsum Plaster Ceiling | 334 | SF | 6012 | Skim Coat Gypsum Plaster Ceiling | 334 | SF | 6012
| Floor Finish @ Bathroom | 10648 | SF | Floor Finish @ Bathroom | 121 | SF | 1936 | Floor Finish @ Bathroom | 121 | SF | 2178 | Floor Finish @ Bathroom | 121 | SF | 2178 | Floor Finish @ Bathroom | 121 | SF | 2178 | Floor Finish @ Bathroom | 121 | SF | 2178
| Floor Finish @ Bedroom | 17336 | SF | Floor Finish @ Bedroom | 197 | SF | 3152 | Floor Finish @ Bedroom | 197 | SF | 3546 | Floor Finish @ Bedroom | 197 | SF | 3546 | Floor Finish @ Bedroom | 197 | SF | 3546 | Floor Finish @ Bedroom | 197 | SF | 3546
| Floor Finish @ Closet | 880 | SF | Floor Finish @ Closet | 10 | SF | 160 | Floor Finish @ Closet | 10 | SF | 180 | Floor Finish @ Closet | 10 | SF | 180 | Floor Finish @ Closet | 10 | SF | 180 | Floor Finish @ Closet | 10 | SF | 180
| Floor Finish @ Hall | 0 | SF | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0 | Floor Finish @ Hall | 0 | SF | 0
| Floor Finish @ Shower | 1232 | SF | Floor Finish @ Shower | 14 | SF | 224 | Floor Finish @ Shower | 14 | SF | 252 | Floor Finish @ Shower | 14 | SF | 252 | Floor Finish @ Shower | 14 | SF | 252 | Floor Finish @ Shower | 14 | SF | 252
| Wall Base | 9274 | LF | Wall Base | 105.34 | LF | 1686 | Wall Base | 105.34 | LF | 1897 | Wall Base | 105.34 | LF | 1897 | Wall Base | 105.34 | LF | 1897 | Wall Base | 105.34 | LF | 1897
| Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 987 | LF | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.18 | LF | 179 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.18 | LF | 202 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.18 | LF | 202 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.18 | LF | 202 | Wall Tile @ Bathroom @ Ht. 9'0" (Assumed) | 11.18 | LF | 202
| Shower Enclosure Door W/ Partition | 88 | EA | Shower Enclosure Door W/ Partition | 1 | EA | 16 | Shower Enclosure Door W/ Partition | 1 | EA | 18 | Shower Enclosure Door W/ Partition | 1 | EA | 18 | Shower Enclosure Door W/ Partition | 1 | EA | 18 | Shower Enclosure Door W/ Partition | 1 | EA | 18
| Lavatory | 88 | EA | Lavatory | 1 | EA | 16 | Lavatory | 1 | EA | 18 | Lavatory | 1 | EA | 18 | Lavatory | 1 | EA | 18 | Lavatory | 1 | EA | 18
| Shower | 88 | EA | Shower | 1 | EA | 16 | Shower | 1 | EA | 18 | Shower | 1 | EA | 18 | Shower | 1 | EA | 18 | Shower | 1 | EA | 18
| Water Closet | 88 | EA | Water Closet | 1 | EA | 16 | Water Closet | 1 | EA | 18 | Water Closet | 1 | EA | 18 | Water Closet | 1 | EA | 18 | Water Closet | 1 | EA | 18
| Chilled Water Concealed Ducted Unit w/ Electric Heat | 88 | EA | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 16 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 18 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 18 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 18 | Chilled Water Concealed Ducted Unit w/ Electric Heat | 1 | EA | 18
| Panel Board | 88 | EA | Panel Board | 1 | EA | 16 | Panel Board | 1 | EA | 18 | Panel Board | 1 | EA | 18 | Panel Board | 1 | EA | 18 | Panel Board | 1 | EA | 18

## Structural
Structural - Takeoff Summary
Division W/ Description | Items | Quantity 1 | Unit | Quantity 2 | Unit
Division 03
Concrete Beam | Concrete Beam - 1'0" X 2'0" | 10.8676 | LF | 0.80501 | CY
| Concrete Beam - 1'4" X 2'0" | 151.1 | LF | 14.9197 | CY
| Concrete Beam - 1'6" X 2'0" | 534.6817 | LF | 59.4091 | CY
| Concrete Beam - 2'0" X 2'0" | 656.2338 | LF | 97.2198 | CY
Total |  | 1352.8831 | LF | 172.3536 | CY
Concrete Columns | 1'0" X 1'0" Concrete Columns @ Ht.16'0' | 18 | EA | 10.6667 | CY
| 1'0" X 1'10" Concrete Columns @ Ht.10'8" | 76 | EA | 55.037 | CY
| 1'0" X 1'10" Concrete Columns @ Ht.12'1" | 4 | EA | 3.2812 | CY
| 1'0" X 1'10" Concrete Columns @ Ht.15'8" | 14 | EA | 14.8906 | CY
| 1'0" X 1'10" Concrete Columns @ Ht.16'0" | 34 | EA | 36.9316 | CY
| 1'0" X 1'10" Concrete Columns @ Ht.17'5" | 9 | EA | 10.6418 | CY
| 1'10" X 1'10" Concrete Columns @ Ht.10'8" | 115 | EA | 111283.0012 | CY
| 1'10" X 1'10" Concrete Columns @ Ht.12'1" | 2 | EA | 3.0072 | CY
| 1'10" X 1'10" Concrete Columns @ Ht.12'3" | 7 | EA | 10.6708 | CY
| 1'10" X 1'10" Concrete Columns @ Ht.15'8" | 15 | EA | 29.2441 | CY
| 1'10" X 1'10" Concrete Columns @ Ht.16'0" | 76 | EA | 151.3194 | CY
| 1'10" X 1'10" Concrete Columns @ Ht.17'5" | 7 | EA | 15.1716 | CY
| 1'6" X 1'6" Concrete Columns @ Ht.16'0" | 12 | EA | 16 | CY
| 1'6" X 1'6" Concrete Columns @ Ht.8'3" | 5 | EA | 3.4375 | CY
Total |  | 394 | EA | 111643.3006 | CY
Concrete Grade Beam | Concrete Grade Beam - 2'0" X 1'10" | 2865.1095 | LF | 389.0182 | CY
Concrete Pier | 3'6" Dia Concrete Pier @Ht. 30'0" (Height Assumed) | 69 | EA | 737.2458 | CY
| 4'6" Dia Concrete Pier @Ht. 30'0" (Height Assumed) | 36 | EA | 635.85 | CY
Total |  | 105 | EA | 1373.0958 | CY
Concrete Shear Wall | 12" Thick Concrete Shear Wall @ Ht. 10'8" | 674.9 | LF | 266.6355 | CY
| 12" Thick Concrete Shear Wall @ Ht. 11'9" | 69.8215 | LF | 30.3853 | CY
| 12" Thick Concrete Shear Wall @ Ht. 15'8" | 105.9043 | LF | 61.452 | CY
| 12" Thick Concrete Shear Wall @ Ht. 16'0" | 305.3428 | LF | 180.9439 | CY
| 12" Thick Concrete Shear Wall @ Ht. 16'9" | 58.1716 | LF | 36.0879 | CY
Total |  | 1214.1402 | LF | 575.5045 | CY
Concrete Slab | 12" Thick Concrete Slab | 16221.59 | SF | 600.7996 | CY
| 12" Thick Concrete Slab @ Elevator Pit (Assumed) | 313.05 | SF | 11.5944 | CY
| 4" Thick Concrete Slab | 12057.23 | SF | 148.7058 | CY
| 9" Thick Concrete Slab | 112090.4 | SF | 3113.6222 | CY
Total |  | 140682.27 | SF | 3874.7221 | CY
Concrete Slab On Grade | 8" Thick Concrete Slab On Grade | 28579.68 | SF | 706.0239 | CY
Total |  | 28579.68 | SF | 706.0239 | CY
Concrete Wall | 12" Thick Concrete Wall @ Ht. 4'0" (Assumed) @Elevator Pit | 87.0306 | LF | 12.8934 | CY
Division 05
Metal Deck | 1 1/2" Type B Metal Deck | 6752.06 | SF
Steel Beam | HSS 10 X 6 | 729.6326 | LF
| HSS 6 X 6 | 413.9917 | LF
| HSS Steel Beam | 986.6 | LF
| W 10 X 22 | 53.9 | LF
Total |  | 2184.1243 | LF
Steel Columns | HSS 6 X 6 X @ Ht.14'0" | 1 | EA
| HSS 6 X 6 X @ Ht.16'0" | 10 | EA
| HSS 6 X 6 X @ Ht.16'5" | 4 | EA
Total |  | 15 | EA

## Architectural
Architectural - Takeoff Summary
Divisiopn W/ Description | Items | Quantity 1 | Unit | Quantity 2 | Unit
Division 04
Stone Wall | Stone Wall @ Ht. 18'8" | 64.2582 | LF | 1199.5078 | SF
Division 05
Gaurdrail | Stair Gaurdrail @Ht. 3'0" (Assumed) | 346.3236 | LF
Handrail | Stair Handrail @ Ht. 3'6" (Assumed) | 769.9668 | LF
Landing | Landing | 778.55 | SF
No. Of Flights | No. OF Flights - 4'10" X 11" X 2" (Assumed) | 323 | EA
Railing | 2X6 Bumper Railing | 1409.6264 | LF
Railing | Decorative Steel Gaurdrail @ Ht. 3'6" | 218.2018 | LF
Roof Access Ladder | Roof Access Ladder | 2 | EA
Division 07
Coping | Coping | 1592.3737 | LF
Roof Access | Roof Access - 2'6" X 2'6" | 1 | EA
Roofing | PVC Rood Membrane- Thermoplastic Roofing System W/ Polyster Reinforcing | 823.27 | SF
Roofing | Standing Seam Metal Roof | 7970.76 | SF
Roofing | TPO Roofing System | 16996.14 | SF
Division 08
Door | Double Panel Exterior Door | 12 | EA
Door | Double Panel Interior Door | 48 | EA
Door | Fire Shutter Door System | 4 | EA
Door | Overhead Door | 2 | EA
Door | Single Panel Exterior Door | 9 | EA
Door | Single Panel Interior Door | 93 | EA
Storefront | Storefront - 10'0" X 10'0" | 2 | EA | 200 | SF
| Storefront - 10'0" X 12'0" | 2 | EA | 240 | SF
| Storefront - 12'0" X 9'0"(Height Assumed) W/ Double Panel Door | 1 | EA | 108 | SF
| Storefront - 12'10" X 9'0"(Height Assumed)W/ Double Panel Door | 1 | EA | 115.497 | SF
| Storefront - 12'2" X 15'0" W/ Double Panel Door | 1 | EA | 182.505 | SF
| Storefront - 12'5" X 9'0"(Height Assumed) | 1 | EA | 111.753 | SF
| Storefront - 13'0" X 17'0" | 1 | EA | 221 | SF
| Storefront - 14'0" X 15'0" W/ Double Panel Door | 2 | EA | 420 | SF
| Storefront - 16'0" X 9'0"(Height Assumed)W/ Double Panel Door | 2 | EA | 288 | SF
| Storefront - 17'4" X 9'0" (Height Assumed) | 4 | EA | 623.88 | SF
| Storefront - 19'0" X 11'0" | 1 | EA | 209 | SF
| Storefront - 2'10" X 9'0"(Height Assumed) | 10 | EA | 254.97 | SF
| Storefront - 4'0" X 9'0" | 17 | EA | 612 | SF
| Storefront - 40'7" X 10'0" | 2 | EA | 811.66 | SF
| Storefront - 40'7" X 14'0" | 2 | EA | 1136.324 | SF
| Storefront - 6'4" X 10'0" | 5 | EA | 316.5 | SF
| Storefront - 6'4" X 12'0" | 1 | EA | 75.96 | SF
| Storefront - 6'4" X 9'0"(Height Assumed) | 5 | EA | 284.85 | SF
| Storefront - 7'0" X 16'9" | 6 | EA | 703.5 | SF
| Storefront - 7'10" X 9'0"(Height Assumed) | 1 | EA | 70.497 | SF
| Storefront - 8'0" X 12'0" | 1 | EA | 96 | SF
| Storefront - 9'7" X 10'0" W/ Double Panel Door | 2 | EA | 191.66 | SF
| Storefront - 6'4" X 9'6" | 10 | EA | 601.35 | SF
| Storefront 1 EA | 1 | EA | 135 | SF
| Storefront 2 EA | 1 | EA | 295 | SF
Wall | Folding Glass Wall @ Ht. 11'0" | 44.0004 | LF | 484.0044 | SF
Windows | Window - 4'0" X 8'0" | 329 | EA | 10528 | SF
Windows | Window - 5'10" X 8'0" | 5 | EA | 233.32 | SF
Windows | Window - 6'4" X 10'0" | 3 | EA | 189.9 | SF
Windows | Window 3'0" X 5'6" | 1 | EA | 16.5 | SF
Division 09
Ceiling Finish | 2' X 2' Acoustical Ceiling Tile | 9187.41 | SF
Ceiling Finish | Painted 5/8" Suspended Gypsum Board Ceiling | 9719.72 | SF
Floor Finish | Brick Unit Paver | 5057.74 | SF
Floor Finish | Carpet Tiles @ Administration/Executive/Accounting | 779 | SF
Floor Finish | Epoxy Floor @ Banquet Kitchen | 1939 | SF
Floor Finish | Sealed Concrete | 19968.66 | SF
Floor Finish | Porcelain Tile @Lockers Room | 2179 | SF
Wall Base | 4" Rubber Wall Base | 2902.032 | LF
Wall Base | 4" Rubber Wall Base / Porcelain Tile | 132.59 | LF
Wall Base | Epoxy Wall Base | 280.0803 | LF
Wall Finish | Fiber Reinforced Laminate @ Ht. 4'0" | 972.38 | LF | 3889.52 | SF
Wall Finish | Fiber Reinforced Plastic @ Ht. 4'0" | 236.13 | LF | 944.52 | SF
Wall Finish | Fiber Reinforced Plastic @ Ht. 8'0" | 286.3968 | LF | 2291.1744 | SF
Wall Finish | Porcelain Tile @ Ht. 7'0"( Height Assumed) | 278.54 | LF | 1949.78 | SF
Division 10
Balcony | Prefabricated Steel Balcony And Railing - 5'0" X 14'0" | 18 | EA | 1260 | SF
Gas Fire Place | Gas Fire Place | 1 | EA
Operable Partition | Operable Partition @ Ht. 16'0" | 105.87 | LF | 1693.92 | SF
Restroom | Restroom | 8 | EA
Screen Wall | Screen Wall @ Ht.9'0" | 173.9731 | LF | 1565.7579 | SF
Stone Gas Fireplace | Stone Gas Fireplace | 1 | EA
Toilet Partition | Toilet Partition @ Ht. 4'0" | 10 | LF | 40 | SF
Trellis | Painted Steel Trellis | 2587.21 | SF
Division 14
Elevator | Elevator (8 Stops) | 3 | EA
Division 32
Pool Area | Pool Area | 815.79 | SF
Tree Wells | Tree Wells | 8 | EA
Wall | Planter Wall @ Ht. 3'0" (Height Assumed) | 31.2 | LF
Water Feature | Water Feature | 9.68 | LF

## Exterior Facade
Exterior Facade - Takeoff Summary
Division W/ Description | Items | Quantity 1 | Unit | Quantity 2 | Unit
Division 04
Exterior Finish | 12" Rowlock Brick Band | 21 | LF
Exterior Finish | 2" Rowlock Brick Band | 808.3019 | LF
Exterior Finish | 4" Rowlock Brick Band | 4363.4456 | LF
Exterior Finish | 24" Soldier Course Brick Lintel | 134.3454 | LF
Exterior Finish | 4" Rowlock Brick Sill | 1356.3647 | LF
Exterior Finish | 4" (W) Brick Arch | 744.2 | LF
Exterior Finish | 8" (W) Brick Arch | 328.29 | LF
Exterior Finish | 8" Soldier Course Brick | 4413.5241 | LF
Total | Modular Brick |  |  | 78015.8552 | SF
Exterior Finish | Modular Brick @ Ht. 10'8" | 17.5651 | LF | 187.3669 | SF
| Modular Brick @ Ht. 14'0" | 49.4934 | LF | 692.9076 | SF
| Modular Brick @ Ht. 1'6" | 209.0669 | LF | 313.6003 | SF
| Modular Brick @ Ht. 16'0" | 774.2495 | LF | 12387.992 | SF
| Modular Brick @ Ht. 18'8" | 126.573 | LF | 2362.7382 | SF
| Modular Brick @ Ht. 23'4" | 86 | LF | 2006.38 | SF
| Modular Brick @ Ht. 3'6" | 226.0553 | LF | 5273.8701 | SF
| Modular Bricks | 54791 | SF | 54791 | SF
Total | Metal Panel(Finish Assumed) |  |  | 1766 | SF
Exterior Finish | Metal Panels (Finish Assumed) | 835 | SF | 835 | SF
| Metal Panels @ Ht. 10'0" (Finish Assumed) | 35.9 | LF | 359 | SF
| Metal Panels @ Ht. 16'0" (Finish Assumed) | 35.75 | LF | 572 | SF

## MEPT
MEPT - Takeoff Summary
Division W/ Description | Items | Quantity 1 | Unit
Division 22
Gallon Grease Interceptor And Sample Well | Gallon Grease Interceptor And Sample Well | 1 | EA
Gas Meter Assembly | Gas Meter Assembly | 1 | EA
Generator Remote Fill Station | Generator Remote Fill Station | 1 | EA
Mop Sink | Mop Sink | 1 | EA
Pump | Fire Pump | 1 | EA
| Jockey Pump | 1 | EA
| Triplex Domestic Booster Pump | 1 | EA
Plumbing Fixture | Lavatory | 27 | EA
| Urinal | 8 | EA
| Water Closet | 27 | EA
Division 23
Air Cooled Chiller | ACCH - Air Cooled Chiller | 2 | EA
Captive Air Modular Packaged Unit | 5 Ton Makeup Captive Air Modular Packaged Unit | 1 | EA
Condensing Unit | Condensing Unit | 6 | EA
DOAS | DOAS - Dedicated Outdoor Air System | 1 | EA
Electric Unit Heater | EUH - Electric Unit Heater | 4 | EA
Fan Coil Unit | FCU - Fan Coil Unit | 30 | EA
Louver | 120" X 120" Louver | 1 | EA
| 144" X 144" Louver | 1 | EA
| 24" X 24" Louver | 1 | EA
| 48" X 12" Louver | 1 | EA
| 48" X 12" Louver | 1 | EA
| 96" X 24" Louver | 1 | EA
Roof Mounted Chilled Water Outside Air Handling Unit | OAHU - Roof Mounted Chilled Water Outside Air Handling Unit | 2 | EA
Single Zone VAV Air Handling Unit | AHU - Single Zone VAV Air Handling Unit | 7 | EA
Stair Pressurization Fan | SPF - Stair Pressurization Fan | 2 | EA
Division 26
Fire Pump Controller | Fire Pump Controller | 1 | EA
Light Fixture | Light Fixture / Power / Receptacles (Miscellaneous) | 1 | LS
Meter | Meter Centre Type 1A | 1 | EA
Panel Board | Panel Board | 41 | EA
Tap Box | Tap Box | 1 | EA
Transformer | XMFR - Transformer | 16 | EA
Utility Transformer | Utility Transformer | 1 | EA
Division 28
AV Cabinet | AV Cabinet | 6 | EA
Card Reader | Wall Mounted Card Reader | 1 | EA
DC | DC - Door Position Sensor | 1 | EA
Projection Screen | Recessed Motorized Projection Screen | 4 | EA
Projector | Large Venue High Lumen Ceiling Mounted Projector | 4 | EA

## Civil + Landscape
Site Takeoff Summary
Division W/ Description | Items | Quantity 1 | Unit | Quantity 2 | Unit
Division 02
Demolition | Close And Abandonee Existing Monitoring Well | 1 | EA
| Remove & Relocate Existing Light Pole | 11 | EA
| Remove Existing Curb | 1792.76 | LF
| Remove Existing Drive | 13091 | SF
| Remove Existing Fence | 496.71 | LF
| Remove Existing Meter And Pads | 1 | EA
| Remove Existing Pavement | 56462 | SF
| Remove Existing Railing | 11.31 | LF
| Remove Existing Ramp | 1 | EA
| Remove Existing Sidewalk | 1179 | SF
| Remove Existing Signages | 19 | EA
| Remove Existing Trees | 16 | EA
| Remove Existing Underground Electric Line | 163.29 | LF
| Remove Existing Wall | 190.35 | LF
| Remove Existing Water Structure | 1 | EA
| Remove the Existing Landscaping Area | 3676 | SF
Division 03
Concrete Curb | Concrete Curb - 9" X 1'0" | 168.74 | LF | 4.6872 | CY
Concrete Pavement | H1 - 6" Thick Concrete Pavement | 867 | SF | 16.0556 | CY
Concrete Sidewalk | 5" Thick Scored Integral Color Concrete | 1009 | SF | 15.5834 | CY
| H1 - 5" Thick Concrete Sidewalk | 855 | SF | 13.205 | CY
| 5" Thick Scored Integral Color Concrete | 1009 | SF | 15.5834 | CY
Concrete Terrace Seating | 12" Thick Concrete Terrace Seating (Thickness Assumed) | 1044 | SF | 38.6667 | CY
Transformer Pad | 4" Thick Concrete Transformer Pad | 111 | SF | 1.369 | CY
Division 31
Concrete Truck Washout Pit | Concrete Truck Washout Pit | 75 | SF
Inlet Protection | Grate Inlet Protection | 14 | EA
Silt Fence | Silt Fence @ Ht. 2'6" | 485.24 | LF
Stabilized Construction Entrance/Exit | Stabilized Construction Entrance/Exit | 496 | SF
Division 32
Asphalt Pavement | Asphalt Pavement | 10610 | SF
Construction Storage Area | Construction Vehicle, Equipment & Material Storage Area | 205 | SF
Coping | Cast Stone Coping | 38.54 | LF
Fence | Custom Wrought Iron Fence @ Ht. 6'0" (Height Assumed) | 24.99 | LF
Gate | Fence Gate | 1 | EA
Guardrail | Guardrail | 230.42 | LF
Gravel | Gravel | 319 | SF
Gravel | H5 - Gravel | 2594 | SF
Handrail | Handrail | 21.82 | LF
Handrail | Handrail @Ht. 2'6" | 73.4 | LF
Limestone Plank Paver | Limestone Plank Paver | 13 | EA
Low Landscape Wall | Low Landscape Wall W/ 4"-6" Día Angular Limestone Bullrock | 434.92 | LF
Masonry Inlay | Masonry Inlay | 622 | SF
Metal Grate Pedestrian Bridge | Metal Grate Pedestrian Bridge | 244 | SF
Overhead Aqueduct | Overhead Aqueduct | 61.24 | LF
Pavers | H3 - Pavers w/ 6" Thick Concrete Pavement | 16805 | SF
Pier | Custom Cast Stone Pier - 2'6" X 2'6" | 3 | EA
Planting Bed | Planting Bed | 15336 | SF
Ramp | 6'0" (W) Ramp | 1 | EA
Ramp | Ramp | 1 | EA
Retaining Wall | Retaining Wall W/ Brick Veneer & Stone Cap@ Ht.4'0" (Height Assumed) | 367.87 | LF
Salvaged Limestone Blocks | Salvaged Limestone Blocks | 14 | EA
Scupper | Metal Scupper | 4 | EA
Seat Wall | 1'4" Thick Seat Wall @ Ht.2'3" | 57.78 | LF | 130.005 | SF
Slab Stepping Stones W/ Boulders | Slab Stepping Stones W/ Boulders | 326 | SF
SOD | SOD | 4056 | SF
Stairs | Stone Stairs - 6'0" X 1'0" X 7" | 2 | EA
Stairs | Stone Stairs - 9'6" X 1'0" X 7" | 8 | EA
Stairs | Stone Stairs - 9'8" X 1'0" X 7" | 6 | EA
Stone | H4 - Stone W/ 6" Thick Concrete | 498 | SF
Stone | Stone | 75 | SF
Trees | Large Trees | 7 | EA
Trees | Medium Trees | 22 | EA
Trees | Small Trees | 35 | EA
Truncated Domes | Truncated Domes | 16 | SF
Vault Access Hatch | Vault Access Hatch - 2'6" X 2'6" | 1 | EA

## Utility
Utility Takeoff Summary
Division W/ Description | Items | Quantity 1 | Unit
Division 33
Cleanout | 6" Sanitary Sewer Cleanout | 3 | EA
Fire Department Connection | FDC - Fire Department Connection | 3 | EA
Fire Line | 6" PVC Class 150 Dry Fire Line | 166 | LF
| 8" DI Fire Line | 83 | LF
Gas Service Line | Gas Service Line | 26.88 | LF
Gate Valve | 8" Gate Valve | 5 | EA
Grease Trap | Grease Trap | 3 | EA
Irrigation Line | 1" Irrigation Line | 41.56 | LF
Manhole | 48" Sanitary Sewer Manhole | 3 | EA
Meter | 8" X 2" Fire Water Meter | 2 | EA
Sanitary Sewer Line | 6" Sanitary Sewer Line | 37.96 | LF
| 8" Sanitary Sewer Line | 22.5 | LF
Tap W/ Service Saddle | 6' X 1" Tap W/ Service Saddle | 1 | EA
Tee | 8" X 6" Tee | 2 | EA
Valve Box | 6" Valve Box | 5 | EA
Water Line | 8" Waterline (Alternate) | 399.93 | LF
Wye | 6" X 6" Wye | 2 | EA